## Sheet1
GameLevel | TaskNo | Floor | ZoneID | RoomName | HotSpotID | QuestionId | Active | QuestionText | QuestionVOFolderLink | MMMOOO | ExpectedResponse | AnswerImageVOFolderLink | Points | Seconds
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H001 | L1_T08_GS_Z02_Q01 | TRUE | Here is your first question. Identify the Condensor. Click on it. | https://dev.phantom-load.in/media/audio/Task08/questions | MM | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H002 | L1_T08_GS_Z02_Q02 | TRUE | Here comes the next question. Identify the Evaporator. Click on it. | https://dev.phantom-load.in/media/audio/Task08/questions | MM | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H003 | L1_T08_GS_Z02_Q03 | FALSE_03/05 | Identify the Compressor. | https://dev.phantom-load.in/media/audio/Task08/questions | OO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H004 | L1_T08_GS_Z02_Q04 | FALSE_03/05 | Identify the Air side pump (also known as the chiller pump). | https://dev.phantom-load.in/media/audio/Task08/questions | OO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H005 | L1_T08_GS_Z02_Q05 | FALSE_03/05 | Identify the water side pump (also known as the condenser pump) | https://dev.phantom-load.in/media/audio/Task08/questions | OO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H006 | L1_T08_GS_Z02_Q06 | TRUE | Identify the pipe where temperature of water is highest. | https://dev.phantom-load.in/media/audio/Task08/questions | MO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H007 | L1_T08_GS_Z02_Q07 | TRUE | Identify the pipe where temperature of water is lowest. | https://dev.phantom-load.in/media/audio/Task08/questions | MO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H008 | L1_T08_GS_Z02_Q08 | TRUE | What is the rated capacity of each chiller unit? …....Tr | https://dev.phantom-load.in/media/audio/Task08/questions | MM | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H009 | L1_T08_GS_Z02_Q09 | FALSE_03/05 | What is the refrigerant used in this chiller?....... | https://dev.phantom-load.in/media/audio/Task08/questions | OO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GS | Z02 | Chiller | ChillerOperator | L1_T08_GS_Z02_Q10 | FALSE_03/05 | What type of chiller is this? You may ask the operator. | https://dev.phantom-load.in/media/audio/Task08/questions | OO | Operator_This is a magnetic screw chiller. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GS | Z03 | CoolingTower | L1_T08_GS_Z03_H001 | L1_T08_GS_Z03_Q01 | TRUE | Identify the water pipe coming into the cooling tower . Click on it. | https://dev.phantom-load.in/media/audio/Task08/questions | MO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GS | Z03 | CoolingTower | L1_T08_GS_Z03_H002 | L1_T08_GS_Z03_Q02 | TRUE | Identify the water pipe going out from the cooling tower. | https://dev.phantom-load.in/media/audio/Task08/questions | MO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GS | Z03 | CoolingTower | L1_T08_GS_Z03_H003 | L1_T08_GS_Z03_Q03 | TRUE | Identify the make-up water pipe. | https://dev.phantom-load.in/media/audio/Task08/questions | MO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GS | Z03 | CoolingTower | L1_T08_GS_Z03_H004 | L1_T08_GS_Z03_Q04 | TRUE | What is the water flow rate of this cooling tower? ….....l/s | https://dev.phantom-load.in/media/audio/Task08/questions | MM | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GS | Z03 | CoolingTower | CoolingTowerOperator | L1_T08_GS_Z03_Q05 | FALSE_02/03 | What is the purpose of the honey comb mesh? You may select more than one answer. _A) To increase the surface area for effective heat exchange _B)To filter the water circulating through the tower _C)To prevent flooding of the tower _D) To increase the time duration of heat exchange by trickling | https://dev.phantom-load.in/media/audio/Task08/questions | OO | MCQ_A_D | NA | 2 | 30
L1 | T08 | GS | Z03 | CoolingTower | CoolingTowerOperator | L1_T08_GS_Z03_Q06 | FALSE_02/03 | What is the thickness of the honey comb mesh? …...mm You may ask the operator. | https://dev.phantom-load.in/media/audio/Task08/questions | OO | Operator_Thickness of this honeycomb mesh is 1.5 metres. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GS | Z03 | CoolingTower | CoolingTowerOperator | L1_T08_GS_Z03_Q07 | FALSE_02/03 | What kind of draft does this cooling tower use for heat exchange between water and air? ……… You may ask the operator. | https://dev.phantom-load.in/media/audio/Task08/questions | OO | Operator_This tower uses a cross draft mechanism for exchange of heat between air and water. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H001 | L1_T08_GF_Z06_Q01 | FALSE_03/05 | Identify the fresh air vent. Click on it | https://dev.phantom-load.in/media/audio/Task08/questions | OO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H002 | L1_T08_GF_Z06_Q02 | TRUE | Identify the cool air duct. | https://dev.phantom-load.in/media/audio/Task08/questions | MO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H003 | L1_T08_GF_Z06_Q03 | TRUE | Identify the primary filter. | https://dev.phantom-load.in/media/audio/Task08/questions | MO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H004 | L1_T08_GF_Z06_Q04 | FALSE_03/05 | Identify the secondary filter. | https://dev.phantom-load.in/media/audio/Task08/questions | OO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H005 | L1_T08_GF_Z06_Q05 | FALSE_03/05 | Identify the cooling coil. | https://dev.phantom-load.in/media/audio/Task08/questions | OO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H006 | L1_T08_GF_Z06_Q06 | TRUE | Identify the VFD motor. | https://dev.phantom-load.in/media/audio/Task08/questions | MO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H007 | L1_T08_GF_Z06_Q07 | TRUE | What is the speed range of the AHU fan motor? | https://dev.phantom-load.in/media/audio/Task08/questions | MM | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H008 | L1_T08_GF_Z06_Q08 | TRUE | What is the CFM of this Air Handling Unit? | https://dev.phantom-load.in/media/audio/Task08/questions | MM | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H009 | L1_T08_GF_Z06_Q09 | FALSE_03/05 | What is the MERV rating of the filter? | https://dev.phantom-load.in/media/audio/Task08/questions | OO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | GF | Z06 | GFAHURoom | AHUOperator | L1_T08_GF_Z06_Q10 | FALSE_03/05 | How often is the filter cleaned? | https://dev.phantom-load.in/media/audio/Task08/questions | OO | Operator_We clean the filter once a week. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | FF | Z02 | FFOpenOffice | L1_T08_FF_Z02_H009 | L1_T08_FF_Z02_Q01 | TRUE | Identify the VAV Box. Click on it. | https://dev.phantom-load.in/media/audio/Task08/questions | MO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | FF | Z02 | FFOpenOffice | L1_T08_FF_Z02_H010 | L1_T08_FF_Z02_Q02 | TRUE | Identify the damper in the VAV Box. | https://dev.phantom-load.in/media/audio/Task08/questions | MO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | FF | Z02 | FFOpenOffice | L1_T08_FF_Z02_H011 | L1_T08_FF_Z02_Q03 | TRUE | Identify the Temperature Sensor or Thermostat in the room. | https://dev.phantom-load.in/media/audio/Task08/questions | MO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | FF | Z02 | FFOpenOffice | L1_T08_FF_Z02_H012 | L1_T08_FF_Z02_Q04 | TRUE | Identify the static air pressure sensor in the supply air duct. | https://dev.phantom-load.in/media/audio/Task08/questions | MO | HSClick | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30
L1 | T08 | FF | Z02 | FFOpenOffice | NA | L1_T08_FF_Z02_Q05 | TRUE | Which of the following statements about the VAV system are correct? _A)A VAV system allows different zones to operate at different temperatures from the same ventilation systems. _B)In a VAV system, temperature kept constant – Volume of air supply varied. _C)A VAV system is less energy efficient than CAV systems. _D) VAV systems are often used in small residential buildings | https://dev.phantom-load.in/media/audio/Task08/questions | MM | MCQ_A_B | NA | 2 | 30
L1 | T08 | FF | Z02 | FFOpenOffice | EmployeeFF | L1_T08_FF_Z02_Q06 | FALSE_01/01 | What are the operational hours on the this floor? You may ask the employee in that office. | https://dev.phantom-load.in/media/audio/Task08/questions | OO | Operatror_We work during Newyork Day time, which is night in India. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 2 | 30