## Attempt 1
Game Level | Task # | Floor | Room ID | Room | HotSpotID | Source | Destinations | Points | Image URL | Animation /Video URLs | Billing Period | Bill date | Due Date | Discconnection Date | Type | Tarrif | Contract Demand (KVA) | 90% of contract demand (KVA) or 85% of CD (KVA) | Recorded Demand (KVA) | Billing Demand (KVA) | Wheeling Energy | High cost Energy | Special Energy | Base consumption | Power cut energy entitlment | Demand Entitlment | Present reading date | Previous reading date | Present KWH Meter reading | Previous KWH Meter reading | Present KVAH meter reading | Previous KVAH meter reading | Present MD meter reading | Present PF Reading | KWH meter reading difference | KVAH meter reading difference | MD meter reading difference | Consumption (KWH meter) | Consumption (KVAH meter) | Consumption (MD meter) | Less / Addl consumption (KWH meter) | Less / Addl consumption (KVAH meter) | Net Consumption (KWH meter) | Net Consumption (KVAH meter) | Net Consumption (MD meter) | Net PF | Present readings (morning peak) | Previous readings (morning peak) | Consumption (morning Peak) | MD reading (morning peak) | Present readings (normal) | Previous readings (normal) | Consumption (normal) | MD reading (normal) | Present readings (on peak) | Previous readings (on peak) | Consumption (on peak) | MD reading (on peak) | Present readings (off peak) | Previous readings (off peak) | Consumption (off peak) | MD reading (off peak) | Demand Charges for(KVA) | Energy charges for (KVA) | Fuel cost adjustment charges for (KVA) | Demand Charge Rate (₹ / KVA) | Energy Charge rate (₹ / KVA) | Fuel cost adjustment rate (₹ / KVA) | Demand charges (₹) | Energy Charges (₹) | Fuel cost adjustment charges (₹) | Interest on Revenue (₹) | Interest on Tax (₹) | Tax (₹) | Current bill amount (₹) | Arrears (₹) | Bill correction (₹) | Bill rounding adjustment (₹) | Interest on ISD/ASD (IOD) (₹) | TDS on IOD (₹) | Net payable amount (₹) | Net payable amount in words | Max energy consumption billing period | Max monthly energy consumption (kWh) | Min energy consumption billing period | Min monthly energy consumption (kWh) | Total annual energy consumption (kWh) | Total built up area (sq. m) | EP (kWh / sq.m/year) | HPB
L1 | T02 | GF | Z15 | Server Room | L1_T02_GF_Z15_H001 | On Click | Month12 Energy bill, Notebook | 10 |  |  | 01/12/2024 - 01/01/2025 | 2025-01-01 | 2025-01-15 | 2025-01-31 | HT2b | 1HT2B | 125 | 113 | 44 | 113 | 0 | 0 | 0 | 0 | 0 | 0 | 2025-01-01 | 2024-12-01 | 9605.8096 | 9543.2051 | 9879.8945 | 9813.6748 | 0.2958 | 0.94 | 62.6045 | 66.2197 | 0.2958 | 9390.675 | 9932.9589 | 44.37 | 0 | 0 | 9390.675 | 9932.9589 | 44.37 | 0.94 | 1758 | 1744.135 | 2079.7485 | 12.39 | 6235 | 6196.915 | 5712.7442 | 44.37 | 1612.8 | 1602.145 | 1598.2543 | 38.49 | 0 | 0 | 0 | 0 | 113 | 9390.675 | 9390.675 | 365 | 8 | 0.16 | 41245 | 75125.4 | 1502.508 | 0 | 0 | 6761.28 | 124634.348 | 0 | 0 |  |  |  | 124634.348 | Anitha to generate this
L1 | T02 | GF | Z15 | Server Room | L1_T02_GF_Z15_H001 | On Click | Month 11 Energy bill, Notebook | 0 |  |  | 01/11/2024 - 01/12/2024 | 2024-12-01 | 2024-12-15 | 2024-12-31 | HT2b | 1HT2B | 125 | 113 | 49 | 113 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-12-01 | 2024-11-01 | 9543.2051 | 9474.3447 | 9813.6748 | 9741.4854 | 0.3266 | 0.95 | 68.8603 | 72.1895 | 0.3266 | 10329.0515 | 10828.4179 | 48.99 | 0 | 0 | 10329.0515 | 10828.4179 | 48.99 | 0.95 | 1744.135 | 1730.91 | 1983.7464 | 15.72 | 6196.915 | 6152.1899 | 6708.7647 | 48.99 | 1602.145 | 1591.235 | 1636.5052 | 34.08 | 0 | 0 | 0 | 0 | 113 | 10329.0515 | 10329.0515 | 365 | 8 | 0 | 41245 | 82632.4116 | 0 | 100 | 0 | 7436.92 | 131414.3316 | 0 | 0 |  |  |  | 131414.3316
L1 | T02 | GF | Z15 | Server Room | L1_T02_GF_Z15_H001 | On Click | Month 10 Energy bill, Notebook | 0 |  |  | 01/10/2024 - 01/11/2024 | 2024-11-01 | 2024-11-15 | 2024-11-30 | HT2b | 1HT2B | 125 | 113 | 45 | 113 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-11-01 | 2024-10-01 | 9474.3447 | 9400.82 | 9741.4854 | 9665.1904 | 0.3016 | 0.96 | 73.5247 | 76.2949 | 0.3016 | 11028.709 | 11444.2383 | 45.24 | 0 | 0 | 11028.709 | 11444.2383 | 45.24 | 0.96 | 1730.91 | 1716.995 | 2087.2559 | 12.81 | 6152.1899 | 6103.9702 | 7232.9589 | 45.24 | 1591.235 | 1579.95 | 1692.7551 | 29.55 | 0 | 0 | 0 | 0 | 113 | 11028.709 | 11028.709 | 365 | 8 | 0.24 | 41245 | 88229.6724 | -2646.8902 | 100 | 0 | 7929.35 | 134857.3722 | 1000 | 0 |  |  |  | 135857.3722
L1 | T02 | GF | Z15 | Server Room | L1_T02_GF_Z15_H001 | On Click | Month 09 Energy bill, Notebook | 0 |  |  | 01/09/2024 - 01/10/2024 | 2024-10-01 | 2024-10-15 | 2024-10-31 | HT2b | 1HT2B | 125 | 113 | 55 | 113 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-10-01 | 2024-09-01 | 9400.82 | 9320.64 | 9665.1904 | 9582.404 | 0.387 | 0.96 | 80.18 | 82.7864 | 0.387 | 12027 | 12417.9645 | 58.05 | 0 | 0 | 12027 | 12417.9645 | 58.05 | 0.96 | 1716.995 | 0 | 0 | 0 | 6103.9702 | 0 | 915595.5323 | 0 | 1579.95 | 0 | 236992.4927 | 0 | 0 | 0 | 0 | 0 | 113 | 12027 | 12027 | 365 | 8 | 0.26 | 41245 | 96216 | -3127.02 | 0 | 0 | 8670.24 | 143004.48 | 0 | 0 |  |  |  | 143004.48
L1 | T02 | GF | Z15 | Server Room | L1_T02_GF_Z15_H001 | On Click | Month 08 Energy bill, Notebook | 0 |  |  | 01/08/2024 - 01/09/2024 | 2024-09-01 | 2024-09-15 | 2024-09-30 | HT2b | 1HT2B | 125 | 113 | 62 | 113 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-09-01 | 2024-08-01 | 9320.64 | 9237.15 | 9582.404 | 9495.86 | 0.415 | 0.96 | 83.49 | 86.544 | 0.415 | 12523.5 | 12981.6 | 62.25 | 0 | 0 | 12523.5 | 12981.6 | 62.25 | 0.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 113 | 12523.5 | 12523.5 | 365 | 8 | 0.25 | 41245 | 100188 | 3130.875 | 0 | 0 | 9016.92 | 153581.045 | 0 | 0 |  |  |  | 153581.045
L1 | T02 | GF | Z15 | Server Room | L1_T02_GF_Z15_H001 | On Click | Month 07 Energy bill, Notebook | 0 |  |  | 01/07/2024 - 01/08/2024 | 01-08-2024 | 2024-08-15 | 2024-08-30 | HT2b | 1HT2B | 125 | 113 | 55 | 113 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-08-01 | 2024-07-01 | 9237.15 | 9157.4 | 9495.86 | 9413.14 | 0.367 | 0.96 | 79.75 | 82.72 | 0.367 | 11962.5 | 12408 | 55.05 | 0 | 0 | 11962.5 | 12408 | 55.05 | 0.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 113 | 11962.5 | 11962.5 | 365 | 8 | 0.2 | 41245 | 95700 | 2392.5 | 0 | 0 | 8613 | 147950.7 | 0 | 0 |  |  |  | 147950.7
L1 | T02 | GF | Z15 | Server Room | L1_T02_GF_Z15_H001 | On Click | Month 06 Energy bill, Notebook | 0 |  |  | 01/06/2024 - 01/07/2024 | 01-07-2024 | 2024-07-15 | 2024-07-30 | HT2b | 1HT2B | 125 | 113 | 61 | 113 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-07-01 | 2024-06-01 | 9157.4 | 9072.59 | 9413.14 | 9325.29 | 0.404 | 0.96 | 84.81 | 87.85 | 0.404 | 12721.5 | 13177.5 | 60.6 | 0 | 0 | 12721.5 | 13177.5 | 60.6 | 0.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 113 | 12721.5 | 12721.5 | 365 | 8 | 0.09 | 41245 | 101772 | 1144.935 | 0 | 0 | 9159.48 | 153321.505 | 0 | 0 |  |  |  | 153321.505
L1 | T02 | GF | Z15 | Server Room | L1_T02_GF_Z15_H001 | On Click | Month 05 Energy bill, Notebook | 0 |  |  | 01/05/2024 - 01/06/2024 | 01-06-2024 | 2024-06-15 | 2024-06-30 | HT2b | 1HT2B | 125 | 113 | 89 | 113 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-06-01 | 2024-05-01 | 9072.59 | 8953.9551 | 9325.29 | 9204.04 | 0.595 | 0.98 | 118.6349 | 121.25 | 0.595 | 17795.2383 | 18187.4941 | 89.25 | 0 | 0 | 17795.2383 | 18187.4941 | 89.25 | 0.98 | 0 | 1646.65 | -246997.5036 |  | 0 | 5792.3301 | -868849.5117 |  | 0 | 1514.865 | -227229.7449 | 0 | 0 | 0 | 0 | 0 | 113 | 17795.2383 | 17795.2383 | 365 | 8 | 0.13 | 41245 | 142361.9064 | 2313.381 | 0 | 0 | 12812.57 | 198732.9874 | 0 | 0 | 0 | -34763 | 3476 | 167445.9874
L1 | T02 | GF | Z15 | Server Room | L1_T02_GF_Z15_H001 | On Click | Month 04 Energy bill, Notebook | 0 |  |  | 01/04/2024 - 01/05/2024 | 2024-05-01 | 2024-05-15 | 2024-05-30 | HT2b | 1HT2B | 125 | 113 | 86 | 113 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-05-01 | 2024-04-01 | 8953.9551 | 8836.9551 | 9204.04 | 9084.8096 | 0.572 | 0.98 | 117 | 119.2305 | 0.572 | 17550 | 17884.5704 | 85.8 | 0 | 0 | 17550 | 17884.5704 | 85.8 | 0.98 | 1646.65 | 1631.9449 | 2205.7617 | 15.39 | 5792.3301 | 5706.7852 | 12831.7383 | 86.8 | 1514.865 | 1498.215 | 2497.5 | 69.39 | 0 | 0 | 0 | 0 | 113 | 17550 | 17550 | 365 | 8 | 0.08 | 41245 | 140400 | 1404 | 0 | 0 | 12636 | 195685.08 | 0 | 0 | 0 | 0 | 0 | 195685.08
L1 | T02 | GF | Z15 | Server Room | L1_T02_GF_Z15_H001 | On Click | Month 03 Energy bill, Notebook | 0 |  |  | 01/03/2024 - 01/04/2024 | 01-04-2024 | 2024-04-15 | 2024-04-30 | HT2b | 1HT2B | 125 | 106 | 74 | 106 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-04-01 | 2024-03-01 | 8836.9551 | 8733.1299 | 9084.8096 | 8978.9102 | 0.4966 | 0.98 | 103.8252 | 105.8994 | 0.4966 | 15573.7792 | 15884.9121 | 74.49 | 0 | 0 | 15573.7792 | 15884.9121 | 74.49 | 0.98 | 1631.9449 | 1616.77 | 2276.2389 | 14.28 | 5706.7852 | 5632.7798 | 11100.8057 | 74.49 | 1498.215 | 1483.5699 | 2196.753 | 51.6 | 0 | 0 | 0 | 0 | 106 | 15573.7792 | 15573.7792 | 375 | 9.25 | 0.16 | 39750 | 144057.4581 | 2491.8047 | 0 | 0 | 12965.17 | 199264.5927 | 0 | 0 | 0 | 0 | 0 | 199264.5927
L1 | T02 | GF | Z15 | Server Room | L1_T02_GF_Z15_H001 | On Click | Month 02 Energy bill, Notebook | 0 |  |  | 01/02/2024 - 01/03/2024 | 01-03-2024 | 2024-03-15 | 2024-03-30 | HT2b | 1HT2B | 125 | 106 | 66 | 106 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-03-01 | 2024-02-01 | 8733.1299 | 8648.0996 | 8978.9102 | 8891.5498 | 0.4432 | 0.97 | 85.0303 | 87.3604 | 0.4432 | 12754.5411 | 13104.0526 | 66.48 | 0 | 0 | 12754.5411 | 13104.0526 | 66.48 | 0.97 | 1616.77 | 1603.55 | 1982.9957 | 13.08 | 5632.7798 | 5573.6001 | 8876.9531 | 66.48 | 1483.5699 | 1470.9399 | 1894.5007 | 45.09 | 0 | 0 | 0 | 0 | 106 | 12754.5411 | 12754.5411 | 375 | 9.25 | 0 | 39750 | 117979.5052 | 0 | 0 | 0 | 10618.16 | 168347.6652 | 0 | 0 | 0 | 0 | 0 | 168347.6652
L1 | T02 | GF | Z15 | Server Room | L1_T02_GF_Z15_H001 | On Click | Month 01 Energy bill, Notebook | 0 |  |  | 01/01/2024 - 01/02/2024 | 2024-02-01 | 2024-02-15 | 30-02-2024 | HT2b | 1HT2B | 125 | 106 | 50 | 106 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-02-01 | 2024-01-01 | 8648.0996 | 8571.68 | 8891.5498 | 8802.6 | 0.334 | 0.97 | 76.4196 | 88.9498 | 0.334 | 11462.9413 | 13342.4708 | 50.1 | 0 | 0 | 11462.9413 | 13342.4708 | 50.1 | 0.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 106 | 11462.9413 | 11462.9413 | 375 | 9.25 | 0.09 | 39750 | 106032.2075 | 1031.6647 | 0 | 0 | 9518 | 156331.9622 | 0 | 0 | 0 | 0 | 0 | 156331.9622
L1 | T02 | GF | Z15 | Server Room | L1_T02_GF_Z15_H001 | On Click | Quiz, formula, notebook | [75 empty] | 01/05/2024 - 01/06/2024 | 17795.2383 | 01/12/2024 - 01/01/2025 | 9390.675 | 155119.4355 | 3000 | 51.7065 | YES
9474.3447
Formulas:
Present reading date = [Previous reading date, row above]