## Sheet1
GameLevel | TaskNo | Floor | ZoneID | RoomName | HotSpotID | OperatorID | QuestionId | Active | QuestionText | OptionA | isCOrrectAnswer | OptionB | isCOrrectAnswer | OptionC | isCOrrectAnswer | OptionD | isCOrrectAnswer | QuestionVOFolderLink | MMMOOO | ExpectedResponse | PlayerToOperatorVOfiles | Operatorresponse | AnswerImageVOFolderLink | InitialSetPointTemp | InitialRoomTemp | RelativeHumidity | VAVboxValvePercentOpen | Points | Seconds | Delaytime
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H001 | Null | L1_T08_GS_Z02_Q01 | TRUE | Identify the condenser. Click on it. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MM | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 27.95 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H002 | Null | L1_T08_GS_Z02_Q02 | TRUE | Identify the evaporator. Click on it. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MM | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H003 | Null | L1_T08_GS_Z02_Q03 | FALSE_03/05 | Identify the compressor. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H004 | Null | L1_T08_GS_Z02_Q04 | FALSE_03/05 | Identify the air side pump (a.k.a the chiller pump). | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H005 | Null | L1_T08_GS_Z02_Q05 | FALSE_03/05 | Identify the water side pump (a.k.a the condenser pump) | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H006 | Null | L1_T08_GS_Z02_Q06 | TRUE | Identify the hottest pipe in this room (i.e. the pipe where temp of water is highest) | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H007 | Null | L1_T08_GS_Z02_Q07 | TRUE | Identify the coolest pipe in this room. (i.e. the pipe where temp of water is lowest) | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H008 | Null | L1_T08_GS_Z02_Q08 | TRUE | What is the rated capacity of each chiller unit? (Hint: chcek the name plate) | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MM | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H009 | Null | L1_T08_GS_Z02_Q09 | FALSE_03/05 | What is the refrigerant used in this chiller? | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z02 | Chiller | NULL | ChillerOperator | L1_T08_GS_Z02_Q10 | FALSE_03/05 | What type of chiller is this? | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | Operator | https://dev.phantom-load.in/media/audio/Task08/playerToOperator/ | This is a scroll chiller. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z03 | CoolingTower | L1_T08_GS_Z03_H001 | Null | L1_T08_GS_Z03_Q01 | TRUE | Identify the water pipe coming into the cooling tower . | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z03 | CoolingTower | L1_T08_GS_Z03_H002 | Null | L1_T08_GS_Z03_Q02 | TRUE | Identify the water pipe going out from the cooling tower. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z03 | CoolingTower | L1_T08_GS_Z03_H003 | Null | L1_T08_GS_Z03_Q03 | TRUE | Spot the make-up water pipe. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z03 | CoolingTower | L1_T08_GS_Z03_H004 | Null | L1_T08_GS_Z03_Q04 | TRUE | How many liters of water does this tower circulate per second? (Hint: check the name plate) | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MM | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z03 | CoolingTower | NULL | Null | L1_T08_GS_Z03_Q05 | FALSE_02/03 | What is the purpose of the honey comb mesh? Select all that apply. | To increase the surface area for effective heat exchange | TRUE | To filter the water circulating through the tower | FALSE | To prevent flooding of the tower | FALSE | To increase the time duration of heat exchange by trickling | TRUE | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | MCQMA | NULL | NULL | NA | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z03 | CoolingTower | NULL | CoolingTowerOperator | L1_T08_GS_Z03_Q06 | FALSE_02/03 | What is the thickness of the honey comb mesh? | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | Operator | https://dev.phantom-load.in/media/audio/Task08/playerToOperator/ | Thickness of this honeycomb mesh is 1.5 metres. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z03 | CoolingTower | NULL | CoolingTowerOperator | L1_T08_GS_Z03_Q07 | FALSE_02/03 | What kind of draft does this cooling tower use for heat exchange between water and air? | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | Operator | https://dev.phantom-load.in/media/audio/Task08/playerToOperator/ | This tower uses a cross draft mechanism for exchange of heat between air and water. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H001 | Null | L1_T08_GF_Z06_Q01 | FALSE_03/05 | Identify the fresh air vent. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H002 | Null | L1_T08_GF_Z06_Q02 | TRUE | Identify the cool air duct. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H003 | Null | L1_T08_GF_Z06_Q03 | TRUE | Identify the primary filter. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H004 | Null | L1_T08_GF_Z06_Q04 | FALSE_03/05 | Identify the secondary filter. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H005 | Null | L1_T08_GF_Z06_Q05 | FALSE_03/05 | Identify the cooling coil. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H006 | Null | L1_T08_GF_Z06_Q06 | TRUE | Identify the VFD motor. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H007 | Null | L1_T08_GF_Z06_Q07 | TRUE | What is the speed range of the AHU fan motor? (Hint: Check the name plate) | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MM | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H008 | Null | L1_T08_GF_Z06_Q08 | TRUE | What is the CFM of this Air Handling Unit? (Hint: Check the name plate) | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MM | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H009 | Null | L1_T08_GF_Z06_Q09 | FALSE_03/05 | What is the MERV rating of the filter? (Hint: Check the name plate) | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | HSClick | NULL | This is MERV 8 filter. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | NULL | AHUOperator | L1_T08_GF_Z06_Q10 | FALSE_03/05 | How often is the filter cleaned? | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | Operator | https://dev.phantom-load.in/media/audio/Task08/playerToOperator/ | We clean the filter once a week. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | L1_T08_FF_Z23_H001 | Null | L1_T08_FF_Z23_Q01 | TRUE | Identify the VAV Box. Click on it. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | L1_T08_FF_Z23_H002 | Null | L1_T08_FF_Z23_Q02 | FALSE | Identify the damper in the VAV Box. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | L1_T08_FF_Z23_H003 | Null | L1_T08_FF_Z23_Q03 | TRUE | Identify the temperature sensor or thermostat in the room. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | L1_T08_FF_Z23_H004 | Null | L1_T08_FF_Z23_Q04 | FALSE | Identify the static air pressure sensor in the supply air duct. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | NULL | Null | L1_T08_FF_Z23_Q05 | TRUE | This building uses a Variable Air Volume cooling strategy. What are the key features of a VAV systems? You may tick multiple options. | A VAV system allows different zones to operate at different temperatures from the same ventilation systems. | TRUE | In a VAV system, incoming air temperature is kept constant – Volume of air supply is varied to achieve the desired room temperature. | TRUE | A VAV system is less energy efficient than a CAV systems. | FALSE | VAV systems are often used in small residential buildings. | FALSE | https://dev.phantom-load.in/media/audio/Task08/questions/ | MM | MCQMA | NULL | NULL | NA | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | NULL | NULL | L1_T08_FF_Z23_Q06 | FALSE | What is the function of damper in the VAV box? Select all that apply. | To modulate the volume of cooled supply air entering a specific zone to maintain a set temperature. | TRUE | To dampen the air entering the space by adding humidity or moisture to it. | FALSE | To reduce the humming noise in the space. | FALSE | To regulate the speed at which air enters the space. | FALSE | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | MCQSA | NULL | NULL | NA | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | NULL | Null | L1_T08_FF_Z23_Q07 | FALSE | What is the function of the thermostat in this room? Select all that apply. | To constantly measure the room temperature and compare it to the user-defined setpoint. | TRUE | When the room temperature drifts off the set point, to send signals to the VAV box's actuator to open or close the damper. | TRUE | To send the room temperature data to the BMS. | TRUE | When the room temperature drifts off the set point, to trigger an alarm beeper. | FALSE | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | MCQMA | NULL | NULL | NA | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | NULL | Null | L1_T08_FF_Z23_Q08 | FALSE | What do you think is the function of the static air pressure sensor in the supply air duct? Select all that apply. | To constantly measure the pressure in the supply air duct and compare it to the defined setpoint. | TRUE | When the pressure drifts off the set point, to send signals to the VFD motor to increase or decrease the fan speed. | TRUE | To prevent too much air near the fan and too little air at the far end of the line. | TRUE | To prevent excessive pressure that can cause whistling noises at the diffusers. | TRUE | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | MCQMA | NULL | NULL | NA | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | NULL | EmployeeFF | L1_T08_FF_Z23_Q09 | TRUE | What are the operational hours on this floor? | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | Operator | https://dev.phantom-load.in/media/audio/Task08/playerToOperator/ | We work during India day time, that is.. 9:00 am to 6:00 pm. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | L1_T08_FF_Z23_H005 | Null | L1_T08_FF_Z23_Q10 | FALSE_01/02 | This work area is feeling too warm. Reduce the set point temp using the thermostat. Click OK to freeze your new setting. Then click on the VAV box to see what is happening. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OM | Interaction | NULL | The thermostat and the VAV box valve work together to achieve the desired temperature in the room. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 6 | 120 | 4
L1 | T08 | FF | Z23 | FFOpenOffice | L1_T08_FF_Z23_H005 | Null | L1_T08_FF_Z23_Q11 | FALSE_01/02 | This work area is feeling too cold. Increase the set point temp using the thermostat. Click OK to freeze your new setting. Then click on the VAV box to see what is happening. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OM | Interaction | NULL | The thermostat and the VAV box valve work together to achieve the desired temperature in the room. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 18 | 18 | 65 | 90 | 6 | 120 | 4