## Sheet1
GameLevel | TaskNo | Floor | ZoneID | RoomName | HotSpotID | OperatorID | QuestionId | Active | QuestionText | OptionA | isCOrrectAnswer | OptionB | isCOrrectAnswer | OptionC | isCOrrectAnswer | OptionD | isCOrrectAnswer | QuestionVOFolderLink | MMMOOO | ExpectedResponse | PlayerToOperatorVOfiles | Operatorresponse | AnswerImageVOFolderLink | InitialSetPointTemp | InitialRoomTemp | RelativeHumidity | VAVboxValvePercentOpen | Points | Seconds | Delaytime
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H001 | Null | L1_T08_GS_Z02_Q01 | TRUE | Identify the condensor. Click on it. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MM | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 27.95 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H002 | Null | L1_T08_GS_Z02_Q02 | TRUE | Identify the evaporator. Click on it. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MM | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H003 | Null | L1_T08_GS_Z02_Q03 | FALSE_03/05 | Identify the compressor. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H004 | Null | L1_T08_GS_Z02_Q04 | FALSE_03/05 | Identify the air side pump (a.k.a the chiller pump). | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H005 | Null | L1_T08_GS_Z02_Q05 | FALSE_03/05 | Identify the water side pump (a.k.a the condenser pump) | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H006 | Null | L1_T08_GS_Z02_Q06 | TRUE | Identify the hottest pipe in this room (i.e. the pipe where temp of water is highest) | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H007 | Null | L1_T08_GS_Z02_Q07 | TRUE | Identify the coolest pipe in this room (i.e. the pipe where temp of water is lowest) | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H008 | Null | L1_T08_GS_Z02_Q08 | TRUE | What is the rated capacity of each chiller unit? (Hint: chcek the name plate) | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MM | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z02 | Chiller | L1_T08_GS_Z02_H009 | Null | L1_T08_GS_Z02_Q09 | FALSE_03/05 | What is the refrigerant used in this chiller? | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z02 | Chiller | NULL | ChillerOperator | L1_T08_GS_Z02_Q10 | FALSE_03/05 | What type of chiller is this? You may ask the operator. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | Operator | https://dev.phantom-load.in/media/audio/Task08/playerToOperator/ | This is a scroll chiller. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z03 | CoolingTower | L1_T08_GS_Z03_H001 | Null | L1_T08_GS_Z03_Q01 | TRUE | Identify the water pipe coming into the cooling tower . Click on it. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z03 | CoolingTower | L1_T08_GS_Z03_H002 | Null | L1_T08_GS_Z03_Q02 | TRUE | Identify the water pipe going out from the cooling tower. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z03 | CoolingTower | L1_T08_GS_Z03_H003 | Null | L1_T08_GS_Z03_Q03 | TRUE | Spot the make-up water pipe. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z03 | CoolingTower | L1_T08_GS_Z03_H004 | Null | L1_T08_GS_Z03_Q04 | TRUE | How many liters of water does this cooling tower circulate per second? (Hint: check the name plate) | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MM | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z03 | CoolingTower | NULL | Null | L1_T08_GS_Z03_Q05 | FALSE_02/03 | What is the purpose of the honey comb mesh? Select all that apply. | To increase the surface area for effective heat exchange | TRUE | To filter the water circulating through the tower | FALSE | To prevent flooding of the tower | FALSE | To increase the time duration of heat exchange by trickling | TRUE | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | MCQMA | NULL | NULL | NA | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z03 | CoolingTower | NULL | CoolingTowerOperator | L1_T08_GS_Z03_Q06 | FALSE_02/03 | What is the thickness of the honey comb mesh? You may ask the operator. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | Operator | https://dev.phantom-load.in/media/audio/Task08/playerToOperator/ | Thickness of this honeycomb mesh is 1.5 metres. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GS | Z03 | CoolingTower | NULL | CoolingTowerOperator | L1_T08_GS_Z03_Q07 | FALSE_02/03 | What kind of draft does this cooling tower use for heat exchange between water and air? You may ask the operator. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | Operator | https://dev.phantom-load.in/media/audio/Task08/playerToOperator/ | This tower uses a cross draft mechanism for exchange of heat between air and water. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H001 | Null | L1_T08_GF_Z06_Q01 | FALSE_03/05 | Identify the fresh air vent. Click on it | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H002 | Null | L1_T08_GF_Z06_Q02 | TRUE | Identify the cool air duct. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H003 | Null | L1_T08_GF_Z06_Q03 | TRUE | Identify the primary filter. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H004 | Null | L1_T08_GF_Z06_Q04 | FALSE_03/05 | Identify the secondary filter. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H005 | Null | L1_T08_GF_Z06_Q05 | FALSE_03/05 | Identify the cooling coil. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H006 | Null | L1_T08_GF_Z06_Q06 | TRUE | Identify the VFD motor. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H007 | Null | L1_T08_GF_Z06_Q07 | TRUE | What is the speed range of the AHU fan motor? (Hint: Check the name plate) | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MM | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H008 | Null | L1_T08_GF_Z06_Q08 | TRUE | What is the CFM of this Air Handling Unit? (Hint: Check the name plate) | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MM | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | L1_T08_GF_Z06_H009 | Null | L1_T08_GF_Z06_Q09 | FALSE_03/05 | What is the MERV rating of the filter? (Hint: Check the name plate) | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | HSClick | NULL | This is MERV 8 filter. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | GF | Z06 | GFAHURoom | NULL | AHUOperator | L1_T08_GF_Z06_Q10 | FALSE_03/05 | How often is the filter cleaned? You may ask the operator? | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | Operator | https://dev.phantom-load.in/media/audio/Task08/playerToOperator/ | We clean the filter once a week. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | L1_T08_FF_Z23_H001 | Null | L1_T08_FF_Z23_Q01 | TRUE | Identify the VAV Box. Click on it. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | L1_T08_FF_Z23_H002 | Null | L1_T08_FF_Z23_Q02 | FALSE | Identify the damper in the VAV Box. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | L1_T08_FF_Z23_H003 | Null | L1_T08_FF_Z23_Q03 | TRUE | Identify the temperature sensor or thermostat in the room. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | L1_T08_FF_Z23_H004 | Null | L1_T08_FF_Z23_Q04 | FALSE | Identify the static air pressure sensor in the supply air duct. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | HSClick | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | NULL | Null | L1_T08_FF_Z23_Q05 | TRUE | This building uses a Variable Air Volume cooling strategy. What are the key features of a VAV systems? You may tick multiple options. | A VAV system allows different zones to operate at different temperatures from the same ventilation systems. | TRUE | In a VAV system, incoming air temperature is kept constant – Volume of air supply is varied to achieve the desired room temperature. | TRUE | A VAV system is less energy efficient than a CAV systems. | FALSE | VAV systems are often used in small residential buildings. | FALSE | https://dev.phantom-load.in/media/audio/Task08/questions/ | MM | MCQMA | NULL | NULL | NA | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | NULL | NULL | L1_T08_FF_Z23_Q06 | FALSE | What is the function of damper in the VAV box? Select all that apply. | To modulate the volume of cooled supply air entering a specific zone to maintain a set temperature. | TRUE | To dampen the air entering the space by adding humidity or moisture to it. | FALSE | To reduce the humming noise in the space. | FALSE | To regulate the speed at which air enters the space. | FALSE | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | MCQSA | NULL | NULL | NA | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | NULL | Null | L1_T08_FF_Z23_Q07 | FALSE | What is the function of the thermostat in this room? Select all that apply. | To constantly measure the room temperature and compare it to the user-defined setpoint. | TRUE | When the room temperature drifts off the set point, to send signals to the VAV box's actuator to open or close the damper. | TRUE | To send the room temperature data to the BMS. | TRUE | When the room temperature drifts off the set point, to trigger an alarm beeper. | FALSE | https://dev.phantom-load.in/media/audio/Task08/questions/ | OO | MCQMA | NULL | NULL | NA | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | NULL | Null | L1_T08_FF_Z23_Q08 | FALSE | What do you think is the function of the static air pressure sensor in the supply air duct? Select all that apply. | To constantly measure the pressure in the supply air duct and compare it to the defined setpoint. | TRUE | When the pressure drifts off the set point, to send signals to the VFD motor to increase or decrease the fan speed. | TRUE | To prevent too much air near the fan and too little air at the far end of the line. | TRUE | To prevent excessive pressure that can cause whistling noises at the diffusers. | TRUE | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | MCQMA | NULL | NULL | NA | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | NULL | EmployeeFF | L1_T08_FF_Z23_Q09 | TRUE | What are the operational hours on this floor? You may ask the employee in this work area. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | MO | Operator | https://dev.phantom-load.in/media/audio/Task08/playerToOperator/ | We work during Newyork Day time, which is night in India. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 2 | 30 | 2
L1 | T08 | FF | Z23 | FFOpenOffice | L1_T08_FF_Z23_H005 | Null | L1_T08_FF_Z23_Q10 | FALSE_01/02 | This work area is feeling a little too warm. Reduce the set point temp. using the thermostat in the room (Hint: wall behind the printer). Click OK to freeze your new setting. Then check what is happening in the VAV box. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OM | Interaction | NULL | The thermostat and the VAV box valve work together to achieve the desired temperature in the room. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 28 | 28 | 65 | 40 | 6 | 120 | 4
L1 | T08 | FF | Z23 | FFOpenOffice | L1_T08_FF_Z23_H005 | Null | L1_T08_FF_Z23_Q11 | FALSE_01/02 | This work area is feeling a little too cold. Increase the set point temp. using the thermostat in the room (Hint: wall behind the printer). Click OK to freeze your new setting. Then check what is happening in the VAV box. | NULL | NULL | NULL | NULL | NULL | NULL | NULL | NULL | https://dev.phantom-load.in/media/audio/Task08/questions/ | OM | Interaction | NULL | The thermostat and the VAV box valve work together to achieve the desired temperature in the room. | https://dev.phantom-load.in/media/audio/Task08/answers/ | 18 | 18 | 65 | 90 | 6 | 120 | 4