## Attempt1
Bill Number | Billing Period | Bill date | Due Date | Discconnection Date | Type | Tarrif | Contract Demand (KVA) | 90% of contract demand (KVA) or 85% of CD (KVA) | Recorded Demand (KVA) | Billing Demand (KVA) | Wheeling Energy | High cost Energy | Special Energy | Base consumption | Power cut energy entitlment | Demand Entitlment | Present reading date | Previous reading date | Present KWH Meter reading | Previous KWH Meter reading | Present KVAH meter reading | Previous KVAH meter reading | Present MD meter reading | Present PF Reading | KWH meter reading difference | KVAH meter reading difference | MD meter reading difference | Consumption (KWH meter) | Consumption (KVAH meter) | Consumption (MD meter) | Less / Addl consumption (KWH meter) | Less / Addl consumption (KVAH meter) | Net Consumption (KWH meter) | Net Consumption (KVAH meter) | Net Consumption (MD meter) | Net PF | Present readings (morning peak) | Previous readings (morning peak) | Consumption (morning Peak) | MD reading (morning peak) | Present readings (normal) | Previous readings (normal) | Consumption (normal) | MD reading (normal) | Present readings (on peak) | Previous readings (on peak) | Consumption (on peak) | MD reading (on peak) | Present readings (off peak) | Previous readings (off peak) | Consumption (off peak) | MD reading (off peak) | Demand Charges for(KVA) | Energy charges for (KVA) | Fuel cost adjustment charges for (KVA) | Demand Charge Rate (₹ / KVA) | Energy Charge rate (₹ / KVA) | Fuel cost adjustment rate (₹ / KVA) | Demand charges (₹) | Energy Charges (₹) | Fuel cost adjustment charges (₹) | Interest on Revenue (₹) | Interest on Tax (₹) | Tax (₹) | Current bill amount (₹) | Arrears (₹) | Bill correction (₹) | Bill rounding adjustment (₹) | Interest on ISD/ASD (IOD) (₹) | TDS on IOD (₹) | Net payable amount (₹) | Net payable amount in words
78xxxxxx12 | 01/12/2024 - 01/01/2025 | 2025-01-01 | 2025-01-15 | 2025-01-31 | HT2b | 1HT2B | 87 | 78.648 | 84.478 | 84.478 | 0 | 0 | 0 | 0 | 0 | 0 | 2025-01-01 | 2024-12-01 | 11410.6 | 11241.08 | 11744.4593 | 11564.1212 | 0.2958 | 0.94 | 169.5178 | 180.338 | 0.2958 | 25427.67 | 27050.7105 | 44.37 | 0 | 0 | 25427.6678 | 27050.7105 | 44.37 | 0.94 | 1800.5225 | 1779.3328 | 3178.4585 | 16.8956 | 6739.6771 | 6614.2339 | 18816.4742 | 76.0302 | 1707.3069 | 1681.8792 | 3814.1502 | 67.5824 | 0 | 0 | 0 | 0 | 84.478 | 25427.6678 | 25427.6678 | 365 | 8 | 0.16 | 30834.47 | 203421.34 | 4068.43 | 0 | 0 | 6761.28 | 245085.68 | 0 | 0 | 0 | 0 | 0 | 245085.68 | Anitha to generate this
78xxxxxx11 | 01/11/2024 - 01/12/2024 | 2024-12-01 | 2024-12-15 | 2024-12-31 | HT2b | 1HT2B | 87 | 78.648 | 81.491 | 81.491 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-12-01 | 2024-11-01 | 11241.08 | 11052.62 | 11564.1212 | 11365.7431 | 0.3266 | 0.95 | 188.4592 | 198.378 | 0.3266 | 28268.89 | 29756.722 | 48.99 | 0 | 0 | 28268.8859 | 29756.722 | 48.99 | 0.95 | 1779.3328 | 1755.7754 | 3533.6107 | 16.2982 | 6614.2339 | 6474.7741 | 20918.9755 | 73.3419 | 1681.8792 | 1653.6103 | 4240.3329 | 65.1928 | 0 | 0 | 0 | 0 | 81.491 | 28268.8859 | 28268.8859 | 365 | 8 | 0 | 29744.22 | 226151.09 | 0 | 100 | 0 | 7436.92 | 263432.22 | 0 | 0 | 0 | 0 | 0 | 263432.22
78xxxxxx10 | 01/10/2024 - 01/11/2024 | 2024-11-01 | 2024-11-15 | 2024-11-30 | HT2b | 1HT2B | 87 | 78.648 | 81.185 | 81.185 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-11-01 | 2024-10-01 | 11052.62 | 10815.08 | 11365.7431 | 11118.3047 | 0.3016 | 0.96 | 237.5409 | 247.438 | 0.3016 | 35631.13 | 37115.7655 | 45.24 | 0 | 0 | 35631.1348 | 37115.7655 | 45.24 | 0.96 | 1755.7754 | 1726.0828 | 4453.8919 | 16.237 | 6474.7741 | 6298.9938 | 26367.0398 | 73.0665 | 1653.6103 | 1617.9792 | 5344.6702 | 64.948 | 0 | 0 | 0 | 0 | 81.185 | 35631.1348 | 35631.1348 | 365 | 8 | -0.24 | 29632.53 | 285049.08 | -8551.47 | 100 | 0 | 7929.35 | 314159.24 | 1000 | 0 | 0 | 0 | 0 | 315159.24
78xxxxxx09 | 01/09/2024 - 01/10/2024 | 2024-10-01 | 2024-10-15 | 2024-10-31 | HT2b | 1HT2B | 87 | 78.648 | 85.79 | 85.79 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-10-01 | 2024-09-01 | 10815.08 | 10547.4 | 11118.3047 | 10839.4701 | 0.387 | 0.96 | 267.6812 | 278.835 | 0.387 | 40152.18 | 41825.1905 | 58.05 | 0 | 0 | 40152.1829 | 41825.1905 | 58.05 | 0.96 | 1726.0828 | 0 | 0 | 0 | 6298.9938 | 0 | 29712.6153 | 0 | 1617.9792 | 0 | 6022.8274 | 0 | 0 | 0 | 0 | 0 | 85.79 | 40152.1829 | 40152.1829 | 365 | 8 | -0.26 | 31313.35 | 321217.46 | -10439.57 | 0 | 0 | 8670.24 | 350761.23 | 0 | 0 | 0 | 0 | 0 | 350761.23
78xxxxxx08 | 01/08/2024 - 01/09/2024 | 2024-09-01 | 2024-09-15 | 2024-09-30 | HT2b | 1HT2B | 87 | 78.648 | 80.922 | 80.922 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-09-01 | 2024-08-01 | 10547.4 | 10309.86 | 10839.4701 | 10592.0316 | 0.415 | 0.96 | 237.5409 | 247.438 | 0.415 | 35631.13 | 37115.7655 | 62.25 | 0 | 0 | 35631.1348 | 37115.7655 | 62.25 | 0.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80.922 | 35631.1348 | 35631.1348 | 365 | 8 | 0.25 | 29536.53 | 285049.08 | 8907.78 | 0 | 0 | 9016.92 | 332510.56 | 0 | 0 | 0 | 0 | 0 | 332510.56
78xxxxxx07 | 01/07/2024 - 01/08/2024 | 2024-01-08 | 2024-08-15 | 2024-08-30 | HT2b | 1HT2B | 87 | 78.648 | 83.99 | 83.99 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-08-01 | 2024-07-01 | 10309.86 | 10062.5 | 10592.0316 | 10334.3681 | 0.367 | 0.96 | 247.3569 | 257.663 | 0.367 | 37103.54 | 38649.5216 | 55.05 | 0 | 0 | 37103.5408 | 38649.5216 | 55.05 | 0.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83.99 | 37103.5408 | 37103.5408 | 365 | 8 | 0.2 | 30656.35 | 296828.33 | 7420.71 | 0 | 0 | 8613 | 343518.58 | 0 | 0 | 0 | 0 | 0 | 343518.58
78xxxxxx06 | 01/06/2024 - 01/07/2024 | 2024-01-07 | 2024-07-15 | 2024-07-30 | HT2b | 1HT2B | 87 | 78.648 | 81.522 | 81.522 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-07-01 | 2024-06-01 | 10062.5 | 9790.89 | 10334.3681 | 10051.4439 | 0.404 | 0.96 | 271.6072 | 282.924 | 0.404 | 40741.09 | 42438.6314 | 60.6 | 0 | 0 | 40741.0862 | 42438.6314 | 60.6 | 0.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81.522 | 40741.0862 | 40741.0862 | 365 | 8 | 0.09 | 29755.53 | 325928.69 | 3666.7 | 0 | 0 | 9159.48 | 368510.49 | 0 | 0 | 0 | 0 | 0 | 368510.49
78xxxxxx05 | 01/05/2024 - 01/06/2024 | 2024-01-06 | 2024-06-15 | 2024-06-30 | HT2b | 1HT2B | 87 | 78.648 | 83.916 | 83.916 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-06-01 | 2024-05-01 | 9790.89 | 9513.81 | 10051.4439 | 9768.7054 | 0.595 | 0.98 | 277.0837 | 282.738 | 0.595 | 41562.56 | 42410.7729 | 89.25 | 0 | 0 | 41562.5574 | 42410.7729 | 89.25 | 0.98 | 1726.0828 | 1691.4473 | 5195.3197 | 0 | 6298.9938 | 6093.9519 | 30756.2925 | 0 | 1617.9792 | 1576.4167 | 6234.3836 | 0 | 0 | 0 | 0 | 0 | 83.916 | 41562.5574 | 41562.5574 | 365 | 8 | 0.13 | 30629.34 | 332500.46 | 5403.13 | 0 | 0 | 12812.57 | 381345.63 | 0 | 0 | 0 | -34763 | 3476 | 350058.63
78xxxxxx04 | 01/04/2024 - 01/05/2024 | 2024-05-01 | 2024-05-15 | 2024-05-30 | HT2b | 1HT2B | 87 | 78.648 | 81.755 | 81.755 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-05-01 | 2024-04-01 | 9513.81 | 9263.76 | 9768.7054 | 9513.551 | 0.572 | 0.98 | 250.0513 | 255.154 | 0.572 | 37507.7 | 38273.1599 | 85.8 | 0 | 0 | 37507.6967 | 38273.1599 | 85.8 | 0.98 | 1691.4473 | 1660.1909 | 4688.4621 | 16.351 | 6093.9519 | 5908.9139 | 27755.6956 | 73.5795 | 1576.4167 | 1538.909 | 5626.1545 | 65.404 | 0 | 0 | 0 | 0 | 81.755 | 37507.6967 | 37507.6967 | 365 | 8 | 0.08 | 29840.58 | 300061.57 | 3000.62 | 0 | 0 | 12636 | 345538.84 | 0 | 0 | 0 | 0 | 0 | 345538.84
78xxxxxx03 | 01/03/2024 - 01/04/2024 | 2024-01-04 | 2024-04-15 | 2024-04-30 | HT2b | 1HT2B | 87 | 73.776 | 81.479 | 81.479 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-04-01 | 2024-03-01 | 9263.76 | 9023.22 | 9513.551 | 9268.1062 | 0.4966 | 0.98 | 240.536 | 245.445 | 0.4966 | 36080.4 | 36816.7297 | 74.49 | 0 | 0 | 36080.3951 | 36816.7297 | 74.49 | 0.98 | 1660.1909 | 1630.1239 | 4510.0494 | 16.2958 | 5908.9139 | 5730.9173 | 26699.4924 | 73.3311 | 1538.909 | 1502.8286 | 5412.0593 | 65.1832 | 0 | 0 | 0 | 0 | 81.479 | 36080.3951 | 36080.3951 | 375 | 9.25 | 0.16 | 30554.63 | 333743.66 | 5772.86 | 0 | 0 | 12965.17 | 383036.47 | 0 | 0 | 0 | 0 | 0 | 383036.47
78xxxxxx02 | 01/02/2024 - 01/03/2024 | 2024-01-03 | 2024-03-15 | 2024-03-30 | HT2b | 1HT2B | 87 | 73.776 | 80.724 | 80.724 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-03-01 | 2024-02-01 | 9023.22 | 8810.63 | 9268.1062 | 9048.9404 | 0.4432 | 0.97 | 212.5908 | 219.166 | 0.4432 | 31888.62 | 32874.8699 | 66.48 | 0 | 0 | 31888.6238 | 32874.8699 | 66.48 | 0.97 | 1630.1239 | 1603.55 | 3986.078 | 16.1448 | 5730.9173 | 5573.6001 | 23597.5816 | 72.6516 | 1502.8286 | 1470.9399 | 4783.2936 | 64.5792 | 0 | 0 | 0 | 0 | 80.724 | 31888.6238 | 31888.6238 | 375 | 9.25 | 0 | 30271.5 | 294969.77 | 0 | 0 | 0 | 10618.16 | 335859.43 | 0 | 0 | 0 | 0 | 0 | 335859.43
78xxxxxx01 | 01/01/2024 - 01/02/2024 | 2024-02-01 | 2024-02-15 | 30-02-2024 | HT2b | 1HT2B | 87 | 73.776 | 81.502 | 81.502 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-02-01 | 2024-01-01 | 8810.63 | 8571.68 | 9048.9404 | 8802.6 | 0.334 | 0.97 | 238.9502 | 246.34 | 0.334 | 35842.53 | 36951.0569 | 50.1 | 0 | 0 | 35842.5252 | 36951.0569 | 50.1 | 0.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81.502 | 35842.5252 | 35842.5252 | 375 | 9.25 | 0.09 | 30563.25 | 331543.36 | 3225.83 | 0 | 0 | 9518 | 374850.53 | 0 | 0 | 0 | 0 | 0 | 374850.53

## Attempt2
Bill Number | Billing Period | Bill date | Due Date | Discconnection Date | Type | Tarrif | Contract Demand (KVA) | 90% of contract demand (KVA) or 85% of CD (KVA) | Recorded Demand (KVA) | Billing Demand (KVA) | Wheeling Energy | High cost Energy | Special Energy | Base consumption | Power cut energy entitlment | Demand Entitlment | Present reading date | Previous reading date | Present KWH Meter reading | Previous KWH Meter reading | Present KVAH meter reading | Previous KVAH meter reading | Present MD meter reading | Present PF Reading | KWH meter reading difference | KVAH meter reading difference | MD meter reading difference | Consumption (KWH meter) | Consumption (KVAH meter) | Consumption (MD meter) | Less / Addl consumption (KWH meter) | Less / Addl consumption (KVAH meter) | Net Consumption (KWH meter) | Net Consumption (KVAH meter) | Net Consumption (MD meter) | Net PF | Present readings (morning peak) | Previous readings (morning peak) | Consumption (morning Peak) | MD reading (morning peak) | Present readings (normal) | Previous readings (normal) | Consumption (normal) | MD reading (normal) | Present readings (on peak) | Previous readings (on peak) | Consumption (on peak) | MD reading (on peak) | Present readings (off peak) | Previous readings (off peak) | Consumption (off peak) | MD reading (off peak) | Demand Charges for(KVA) | Energy charges for (KVA) | Fuel cost adjustment charges for (KVA) | Demand Charge Rate (₹ / KVA) | Energy Charge rate (₹ / KVA) | Fuel cost adjustment rate (₹ / KVA) | Demand charges (₹) | Energy Charges (₹) | Fuel cost adjustment charges (₹) | Interest on Revenue (₹) | Interest on Tax (₹) | Tax (₹) | Current bill amount (₹) | Arrears (₹) | Bill correction (₹) | Bill rounding adjustment (₹) | Interest on ISD/ASD (IOD) (₹) | TDS on IOD (₹) | Net payable amount (₹) | Net payable amount in words
79xxxxxx12 | 01/12/2024 - 01/01/2025 | 2025-01-01 | 2025-01-15 | 2025-01-31 | HT2b | 1HT2B | 87 | 78.648 | 84.478 | 84.478 | 0 | 0 | 0 | 0 | 0 | 0 | 2025-01-01 | 2024-12-01 | 11411.7108 | 11242.193 | 11631.7165 | 11462.1987 | 0.2958 | 0.94 | 169.5178 | 169.5178 | 0.2958 | 25427.6678 | 25427.6678 | 44.37 | 0 | 0 | 25427.6678 | 25427.6678 | 44.37 | 0.94 | 1802.964 | 1781.7743 | 3178.4585 | 16.8956 | 6754.1309 | 6628.6877 | 18816.4742 | 76.0302 | 1710.2367 | 1684.8091 | 3814.1502 | 67.5824 | 0 | 0 | 0 | 0 | 84.478 | 25427.6678 | 25427.6678 | 365 | 8 | 0.16 | 30834.47 | 203421.3427 | 4068.4269 | 0 | 0 | 6761.28 | 245085.6796 | 0 | 0 | 0 | 0 | 0 | 245085.6796 | Anitha to generate this
79xxxxxx11 | 01/11/2024 - 01/12/2024 | 2024-12-01 | 2024-12-15 | 2024-12-31 | HT2b | 1HT2B | 87 | 78.648 | 81.491 | 81.491 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-12-01 | 2024-11-01 | 11242.193 | 11053.7338 | 11462.1987 | 11273.7395 | 0.3266 | 0.95 | 188.4592 | 188.4592 | 0.3266 | 28268.8859 | 28268.8859 | 48.99 | 0 | 0 | 28268.8859 | 28268.8859 | 48.99 | 0.95 | 1781.7743 | 1758.2169 | 3533.6107 | 16.2982 | 6628.6877 | 6489.2279 | 20918.9755 | 73.3419 | 1684.8091 | 1656.5402 | 4240.3329 | 65.1928 | 0 | 0 | 0 | 0 | 81.491 | 28268.8859 | 28268.8859 | 365 | 8 | 0 | 29744.215 | 226151.0868 | 0 | 100 | 0 | 7436.92 | 263432.2218 | 0 | 0 | 0 | 0 | 0 | 263432.2218
79xxxxxx10 | 01/10/2024 - 01/11/2024 | 2024-11-01 | 2024-11-15 | 2024-11-30 | HT2b | 1HT2B | 87 | 78.648 | 81.185 | 81.185 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-11-01 | 2024-10-01 | 11053.7338 | 10816.1929 | 11273.7395 | 11036.1986 | 0.3016 | 0.96 | 237.5409 | 237.5409 | 0.3016 | 35631.1348 | 35631.1348 | 45.24 | 0 | 0 | 35631.1348 | 35631.1348 | 45.24 | 0.96 | 1758.2169 | 1728.5243 | 4453.8919 | 16.237 | 6489.2279 | 6313.4476 | 26367.0398 | 73.0665 | 1656.5402 | 1620.909 | 5344.6702 | 64.948 | 0 | 0 | 0 | 0 | 81.185 | 35631.1348 | 35631.1348 | 365 | 8 | -0.24 | 29632.525 | 285049.0788 | -8551.4724 | 100 | 0 | 7929.35 | 314159.2414 | 1000 | 0 | 0 | 0 | 0 | 315159.2414
79xxxxxx09 | 01/09/2024 - 01/10/2024 | 2024-10-01 | 2024-10-15 | 2024-10-31 | HT2b | 1HT2B | 87 | 78.648 | 85.79 | 85.79 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-10-01 | 2024-09-01 | 10816.1929 | 10548.5117 | 11036.1986 | 10797.9664 | 0.387 | 0.96 | 267.6812 | 238.2322 | 0.387 | 40152.1829 | 35734.8333 | 58.05 | 0 | 0 | 40152.1829 | 35734.8333 | 58.05 | 0.96 | 1728.5243 | 0 | 0 | 0 | 6313.4476 | 0 | 29712.6153 | 0 | 1620.909 | 0 | 6022.8274 | 0 | 0 | 0 | 0 | 0 | 85.79 | 40152.1829 | 40152.1829 | 365 | 8 | -0.26 | 31313.35 | 321217.463 | -10439.5675 | 0 | 0 | 8670.24 | 350761.2255 | 0 | 0 | 0 | 0 | 0 | 350761.2255
79xxxxxx08 | 01/08/2024 - 01/09/2024 | 2024-09-01 | 2024-09-15 | 2024-09-30 | HT2b | 1HT2B | 87 | 78.648 | 80.922 | 80.922 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-09-01 | 2024-08-01 | 10548.5117 | 10310.9708 | 10797.9664 | 10530.9764 | 0.415 | 0.96 | 237.5409 | 266.99 | 0.415 | 35631.1348 | 40048.5009 | 62.25 | 0 | 0 | 35631.1348 | 40048.5009 | 62.25 | 0.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80.922 | 35631.1348 | 35631.1348 | 365 | 8 | 0.25 | 29536.53 | 285049.0788 | 8907.7837 | 0 | 0 | 9016.92 | 332510.5625 | 0 | 0 | 0 | 0 | 0 | 332510.5625
79xxxxxx07 | 01/07/2024 - 01/08/2024 | 01-08-2024 | 2024-08-15 | 2024-08-30 | HT2b | 1HT2B | 87 | 78.648 | 83.99 | 83.99 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-08-01 | 2024-07-01 | 10310.9708 | 10063.6138 | 10530.9764 | 10303.2516 | 0.367 | 0.96 | 247.3569 | 227.7248 | 0.367 | 37103.5408 | 34158.7126 | 55.05 | 0 | 0 | 37103.5408 | 34158.7126 | 55.05 | 0.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83.99 | 37103.5408 | 37103.5408 | 365 | 8 | 0.2 | 30656.35 | 296828.3261 | 7420.7082 | 0 | 0 | 8613 | 343518.5842 | 0 | 0 | 0 | 0 | 0 | 343518.5842
79xxxxxx06 | 01/06/2024 - 01/07/2024 | 01-07-2024 | 2024-07-15 | 2024-07-30 | HT2b | 1HT2B | 87 | 78.648 | 81.522 | 81.522 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-07-01 | 2024-06-01 | 10063.6138 | 9792.0066 | 10303.2516 | 10055.2029 | 0.404 | 0.96 | 271.6072 | 248.0487 | 0.404 | 40741.0862 | 37207.3001 | 60.6 | 0 | 0 | 40741.0862 | 37207.3001 | 60.6 | 0.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81.522 | 40741.0862 | 40741.0862 | 365 | 8 | 0.09 | 29755.53 | 325928.6892 | 3666.6978 | 0 | 0 | 9159.48 | 368510.487 | 0 | 0 | 0 | 0 | 0 | 368510.487
79xxxxxx05 | 01/05/2024 - 01/06/2024 | 01-06-2024 | 2024-06-15 | 2024-06-30 | HT2b | 1HT2B | 87 | 78.648 | 83.916 | 83.916 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-06-01 | 2024-05-01 | 9792.0066 | 9514.9229 | 10055.2029 | 9772.4645 | 0.595 | 0.98 | 277.0837 | 282.7385 | 0.595 | 41562.5574 | 42410.7729 | 89.25 | 0 | 0 | 41562.5574 | 42410.7729 | 89.25 | 0.98 | 1728.5243 | 1693.8888 | 5195.3197 | 16.7832 | 6313.4476 | 6108.4057 | 30756.2925 | 75.5244 | 1620.909 | 1579.3465 | 6234.3836 | 0 | 0 | 0 | 0 | 0 | 83.916 | 41562.5574 | 41562.5574 | 365 | 8 | 0.13 | 30629.34 | 332500.4594 | 5403.1325 | 0 | 0 | 12812.57 | 381345.6319 | 0 | 0 | 0 | -34763 | 3476 | 350058.6319
79xxxxxx04 | 01/04/2024 - 01/05/2024 | 2024-05-01 | 2024-05-15 | 2024-05-30 | HT2b | 1HT2B | 87 | 78.648 | 81.755 | 81.755 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-05-01 | 2024-04-01 | 9514.9229 | 9264.8716 | 9772.4645 | 9514.6 | 0.572 | 0.98 | 250.0513 | 257.8644 | 0.572 | 37507.6967 | 38679.664 | 85.8 | 0 | 0 | 37507.6967 | 38679.664 | 85.8 | 0.98 | 1693.8888 | 1662.6324 | 4688.4621 | 16.351 | 6108.4057 | 5923.3677 | 27755.6956 | 73.5795 | 1579.3465 | 1541.8388 | 5626.1545 | 65.404 | 0 | 0 | 0 | 0 | 81.755 | 37507.6967 | 37507.6967 | 365 | 8 | 0.08 | 29840.575 | 300061.5739 | 3000.6157 | 0 | 0 | 12636 | 345538.8447 | 0 | 0 | 0 | 0 | 0 | 345538.8447
79xxxxxx03 | 01/03/2024 - 01/04/2024 | 01-04-2024 | 2024-04-15 | 2024-04-30 | HT2b | 1HT2B | 87 | 73.776 | 81.479 | 81.479 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-04-01 | 2024-03-01 | 9264.8716 | 9014.8203 | 9514.6 | 9259.4456 | 0.4966 | 0.98 | 250.0513 | 255.1544 | 0.4966 | 37507.6967 | 38273.1599 | 74.49 | 0 | 0 | 37507.6967 | 38273.1599 | 74.49 | 0.98 | 1662.6324 | 1631.376 | 4688.4621 | 16.2958 | 5923.3677 | 5738.3297 | 27755.6956 | 73.3311 | 1541.8388 | 1504.3311 | 5626.1545 | 65.1832 | 0 | 0 | 0 | 0 | 81.479 | 37507.6967 | 37507.6967 | 375 | 9.25 | 0.16 | 30554.625 | 346946.1948 | 6001.2315 | 0 | 0 | 12965.17 | 396467.3813 | 0 | 0 | 0 | 0 | 0 | 396467.3813
79xxxxxx02 | 01/02/2024 - 01/03/2024 | 01-03-2024 | 2024-03-15 | 2024-03-30 | HT2b | 1HT2B | 87 | 73.776 | 80.724 | 80.724 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-03-01 | 2024-02-01 | 9014.8203 | 8792.2126 | 9259.4456 | 9029.9532 | 0.4432 | 0.97 | 222.6076 | 229.4924 | 0.4432 | 33391.144 | 34423.8598 | 66.48 | 0 | 0 | 33391.144 | 34423.8598 | 66.48 | 0.97 | 1631.376 | 1603.55 | 4173.893 | 16.1448 | 5738.3297 | 5573.6001 | 24709.4466 | 72.6516 | 1504.3311 | 1470.9399 | 5008.6716 | 64.5792 | 0 | 0 | 0 | 0 | 80.724 | 33391.144 | 33391.144 | 375 | 9.25 | 0 | 30271.5 | 308868.0823 | 0 | 0 | 0 | 10618.16 | 349757.7423 | 0 | 0 | 0 | 0 | 0 | 349757.7423
79xxxxxx01 | 01/01/2024 - 01/02/2024 | 2024-02-01 | 2024-02-15 | 30-02-2024 | HT2b | 1HT2B | 87 | 73.776 | 81.502 | 81.502 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-02-01 | 2024-01-01 | 8792.2126 | 8571.68 | 9029.9532 | 8802.6 | 0.334 | 0.97 | 220.5326 | 227.3532 | 0.334 | 33079.8951 | 34102.9846 | 50.1 | 0 | 0 | 33079.8951 | 34102.9846 | 50.1 | 0.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81.502 | 33079.8951 | 33079.8951 | 375 | 9.25 | 0.09 | 30563.25 | 305989.0297 | 2977.1906 | 0 | 0 | 9518 | 349047.5602 | 0 | 0 | 0 | 0 | 0 | 349047.5602
Formulas:
Present reading date = [Previous reading date, row above]

## Attempt3
Bill Number | Billing Period | Bill date | Due Date | Discconnection Date | Type | Tarrif | Contract Demand (KVA) | 90% of contract demand (KVA) or 85% of CD (KVA) | Recorded Demand (KVA) | Billing Demand (KVA) | Wheeling Energy | High cost Energy | Special Energy | Base consumption | Power cut energy entitlment | Demand Entitlment | Present reading date | Previous reading date | Present KWH Meter reading | Previous KWH Meter reading | Present KVAH meter reading | Previous KVAH meter reading | Present MD meter reading | Present PF Reading | KWH meter reading difference | KVAH meter reading difference | MD meter reading difference | Consumption (KWH meter) | Consumption (KVAH meter) | Consumption (MD meter) | Less / Addl consumption (KWH meter) | Less / Addl consumption (KVAH meter) | Net Consumption (KWH meter) | Net Consumption (KVAH meter) | Net Consumption (MD meter) | Net PF | Present readings (morning peak) | Previous readings (morning peak) | Consumption (morning Peak) | MD reading (morning peak) | Present readings (normal) | Previous readings (normal) | Consumption (normal) | MD reading (normal) | Present readings (on peak) | Previous readings (on peak) | Consumption (on peak) | MD reading (on peak) | Present readings (off peak) | Previous readings (off peak) | Consumption (off peak) | MD reading (off peak) | Demand Charges for(KVA) | Energy charges for (KVA) | Fuel cost adjustment charges for (KVA) | Demand Charge Rate (₹ / KVA) | Energy Charge rate (₹ / KVA) | Fuel cost adjustment rate (₹ / KVA) | Demand charges (₹) | Energy Charges (₹) | Fuel cost adjustment charges (₹) | Interest on Revenue (₹) | Interest on Tax (₹) | Tax (₹) | Current bill amount (₹) | Arrears (₹) | Bill correction (₹) | Bill rounding adjustment (₹) | Interest on ISD/ASD (IOD) (₹) | TDS on IOD (₹) | Net payable amount (₹) | Net payable amount in words
77xxxxxx12 | 01/12/2024 - 01/01/2025 | 2025-01-01 | 2025-01-15 | 2025-01-31 | HT2b | 1HT2B | 87 | 78.648 | 84.478 | 84.478 | 0 | 0 | 0 | 0 | 0 | 0 | 2025-01-01 | 2024-12-01 | 11571.9801 | 11321.9288 | 11667.4994 | 11497.9817 | 0.2958 | 0.94 | 250.0513 | 169.5178 | 0.2958 | 37507.6967 | 25427.6678 | 44.37 | 0 | 0 | 37507.6967 | 25427.6678 | 44.37 | 0.94 | 1818.3311 | 1787.0747 | 4688.4621 | 16.8956 | 6845.104 | 6660.066 | 27755.6956 | 76.0302 | 1728.6772 | 1691.1695 | 5626.1545 | 67.5824 | 0 | 0 | 0 | 0 | 84.478 | 37507.6967 | 37507.6967 | 365 | 8 | 0.16 | 30834.47 | 300061.5739 | 6001.2315 | 0 | 0 | 6761.28 | 343658.7154 | 0 | 0 | 0 | 0 | 0 | 343658.7154 | Anitha to generate this
77xxxxxx11 | 01/11/2024 - 01/12/2024 | 2024-12-01 | 2024-12-15 | 2024-12-31 | HT2b | 1HT2B | 87 | 78.648 | 81.491 | 81.491 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-12-01 | 2024-11-01 | 11321.9288 | 11081.3928 | 11497.9817 | 11309.5224 | 0.3266 | 0.95 | 240.536 | 188.4592 | 0.3266 | 36080.3951 | 28268.8859 | 48.99 | 0 | 0 | 36080.3951 | 28268.8859 | 48.99 | 0.95 | 1787.0747 | 1757.0077 | 4510.0494 | 16.2982 | 6660.066 | 6482.0694 | 26699.4924 | 73.3419 | 1691.1695 | 1655.0891 | 5412.0593 | 65.1928 | 0 | 0 | 0 | 0 | 81.491 | 36080.3951 | 36080.3951 | 365 | 8 | 0 | 29744.215 | 288643.1611 | 0 | 100 | 0 | 7436.92 | 325924.2961 | 0 | 0 | 0 | 0 | 0 | 325924.2961
77xxxxxx10 | 01/10/2024 - 01/11/2024 | 2024-11-01 | 2024-11-15 | 2024-11-30 | HT2b | 1HT2B | 87 | 78.648 | 81.185 | 81.185 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-11-01 | 2024-10-01 | 11081.3928 | 10814.4028 | 11309.5224 | 11071.9815 | 0.3016 | 0.96 | 266.99 | 237.5409 | 0.3016 | 40048.5009 | 35631.1348 | 45.24 | 0 | 0 | 40048.5009 | 35631.1348 | 45.24 | 0.96 | 1757.0077 | 1723.634 | 5006.0626 | 16.237 | 6482.0694 | 6284.4968 | 29635.8907 | 73.0665 | 1655.0891 | 1615.0406 | 6007.2751 | 64.948 | 0 | 0 | 0 | 0 | 81.185 | 40048.5009 | 40048.5009 | 365 | 8 | -0.24 | 29632.525 | 320388.0071 | -9611.6402 | 100 | 0 | 7929.35 | 348438.0019 | 1000 | 0 | 0 | 0 | 0 | 349438.0019
77xxxxxx09 | 01/09/2024 - 01/10/2024 | 2024-10-01 | 2024-10-15 | 2024-10-31 | HT2b | 1HT2B | 87 | 78.648 | 85.79 | 85.79 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-10-01 | 2024-09-01 | 10814.4028 | 10576.8619 | 11071.9815 | 10833.7493 | 0.387 | 0.96 | 237.5409 | 238.2322 | 0.387 | 35631.1348 | 35734.8333 | 58.05 | 0 | 0 | 35631.1348 | 35734.8333 | 58.05 | 0.96 | 1723.634 | 0 | 0 | 0 | 6284.4968 | 0 | 26367.0398 | 0 | 1615.0406 | 0 | 5344.6702 | 0 | 0 | 0 | 0 | 0 | 85.79 | 35631.1348 | 35631.1348 | 365 | 8 | -0.26 | 31313.35 | 285049.0788 | -9264.0951 | 0 | 0 | 8670.24 | 315768.3137 | 0 | 0 | 0 | 0 | 0 | 315768.3137
77xxxxxx08 | 01/08/2024 - 01/09/2024 | 2024-09-01 | 2024-09-15 | 2024-09-30 | HT2b | 1HT2B | 87 | 78.648 | 80.922 | 80.922 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-09-01 | 2024-08-01 | 10576.8619 | 10338.6297 | 10833.7493 | 10566.7593 | 0.415 | 0.96 | 238.2322 | 266.99 | 0.415 | 35734.8333 | 40048.5009 | 62.25 | 0 | 0 | 35734.8333 | 40048.5009 | 62.25 | 0.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80.922 | 35734.8333 | 35734.8333 | 365 | 8 | 0.25 | 29536.53 | 285878.6662 | 8933.7083 | 0 | 0 | 9016.92 | 333366.0745 | 0 | 0 | 0 | 0 | 0 | 333366.0745
77xxxxxx07 | 01/07/2024 - 01/08/2024 | 01-08-2024 | 2024-08-15 | 2024-08-30 | HT2b | 1HT2B | 87 | 78.648 | 83.99 | 83.99 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-08-01 | 2024-07-01 | 10338.6297 | 10070.9485 | 10566.7593 | 10339.0345 | 0.367 | 0.96 | 267.6812 | 227.7248 | 0.367 | 40152.1829 | 34158.7126 | 55.05 | 0 | 0 | 40152.1829 | 34158.7126 | 55.05 | 0.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83.99 | 40152.1829 | 40152.1829 | 365 | 8 | 0.2 | 30656.35 | 321217.463 | 8030.4366 | 0 | 0 | 8613 | 368517.4496 | 0 | 0 | 0 | 0 | 0 | 368517.4496
77xxxxxx06 | 01/06/2024 - 01/07/2024 | 01-07-2024 | 2024-07-15 | 2024-07-30 | HT2b | 1HT2B | 87 | 78.648 | 81.522 | 81.522 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-07-01 | 2024-06-01 | 10070.9485 | 9803.9585 | 10339.0345 | 10090.9859 | 0.404 | 0.96 | 266.99 | 248.0487 | 0.404 | 40048.5009 | 37207.3001 | 60.6 | 0 | 0 | 40048.5009 | 37207.3001 | 60.6 | 0.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81.522 | 40048.5009 | 40048.5009 | 365 | 8 | 0.09 | 29755.53 | 320388.0071 | 3604.3651 | 0 | 0 | 9159.48 | 362907.4722 | 0 | 0 | 0 | 0 | 0 | 362907.4722
77xxxxxx05 | 01/05/2024 - 01/06/2024 | 01-06-2024 | 2024-06-15 | 2024-06-30 | HT2b | 1HT2B | 87 | 78.648 | 83.916 | 83.916 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-06-01 | 2024-05-01 | 9803.9585 | 9566.4176 | 10090.9859 | 9848.5972 | 0.595 | 0.98 | 237.5409 | 242.3887 | 0.595 | 35631.1348 | 36358.3009 | 89.25 | 0 | 0 | 35631.1348 | 36358.3009 | 89.25 | 0.98 | 1723.634 | 1693.9413 | 4453.8919 | 16.7832 | 6284.4968 | 6108.7166 | 26367.0398 | 75.5244 | 1615.0406 | 1579.4095 | 5344.6702 | 0 | 0 | 0 | 0 | 0 | 83.916 | 35631.1348 | 35631.1348 | 365 | 8 | 0.13 | 30629.34 | 285049.0788 | 4632.0475 | 0 | 0 | 12812.57 | 333123.1663 | 0 | 0 | 0 | -34763 | 3476 | 301836.1663
77xxxxxx04 | 01/04/2024 - 01/05/2024 | 2024-05-01 | 2024-05-15 | 2024-05-30 | HT2b | 1HT2B | 87 | 78.648 | 81.755 | 81.755 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-05-01 | 2024-04-01 | 9566.4176 | 9338.6928 | 9848.5972 | 9590.7328 | 0.572 | 0.98 | 227.7248 | 257.8644 | 0.572 | 34158.7126 | 38679.664 | 85.8 | 0 | 0 | 34158.7126 | 38679.664 | 85.8 | 0.98 | 1693.9413 | 1665.4757 | 4269.8391 | 16.351 | 6108.7166 | 5940.2002 | 25277.4473 | 73.5795 | 1579.4095 | 1545.2508 | 5123.8069 | 65.404 | 0 | 0 | 0 | 0 | 81.755 | 34158.7126 | 34158.7126 | 365 | 8 | 0.08 | 29840.575 | 273269.7004 | 2732.697 | 0 | 0 | 12636 | 318479.0524 | 0 | 0 | 0 | 0 | 0 | 318479.0524
77xxxxxx03 | 01/03/2024 - 01/04/2024 | 01-04-2024 | 2024-04-15 | 2024-04-30 | HT2b | 1HT2B | 87 | 73.776 | 81.479 | 81.479 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-04-01 | 2024-03-01 | 9338.6928 | 9091.3359 | 9590.7328 | 9338.3277 | 0.4966 | 0.98 | 247.3569 | 252.405 | 0.4966 | 37103.5408 | 37860.7559 | 74.49 | 0 | 0 | 37103.5408 | 37860.7559 | 74.49 | 0.98 | 1665.4757 | 1634.5561 | 4637.9426 | 16.2958 | 5940.2002 | 5757.1561 | 27456.6202 | 73.3311 | 1545.2508 | 1508.1472 | 5565.5311 | 65.1832 | 0 | 0 | 0 | 0 | 81.479 | 37103.5408 | 37103.5408 | 375 | 9.25 | 0.16 | 30554.625 | 343207.752 | 5936.5665 | 0 | 0 | 12965.17 | 392664.2736 | 0 | 0 | 0 | 0 | 0 | 392664.2736
77xxxxxx02 | 01/02/2024 - 01/03/2024 | 01-03-2024 | 2024-03-15 | 2024-03-30 | HT2b | 1HT2B | 87 | 73.776 | 80.724 | 80.724 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-03-01 | 2024-02-01 | 9091.3359 | 8843.2872 | 9338.3277 | 9082.6075 | 0.4432 | 0.97 | 248.0487 | 255.7203 | 0.4432 | 37207.3001 | 38358.0413 | 66.48 | 0 | 0 | 37207.3001 | 38358.0413 | 66.48 | 0.97 | 1634.5561 | 1603.55 | 4650.9125 | 16.1448 | 5757.1561 | 5573.6001 | 27533.4021 | 72.6516 | 1508.1472 | 1470.9399 | 5581.095 | 64.5792 | 0 | 0 | 0 | 0 | 80.724 | 37207.3001 | 37207.3001 | 375 | 9.25 | 0 | 30271.5 | 344167.5259 | 0 | 0 | 0 | 10618.16 | 385057.1859 | 0 | 0 | 0 | 0 | 0 | 385057.1859
77xxxxxx01 | 01/01/2024 - 01/02/2024 | 2024-02-01 | 2024-02-15 | 30-02-2024 | HT2b | 1HT2B | 87 | 73.776 | 81.502 | 81.502 | 0 | 0 | 0 | 0 | 0 | 0 | 2024-02-01 | 2024-01-01 | 8843.2872 | 8571.68 | 9082.6075 | 8802.6 | 0.334 | 0.97 | 271.6072 | 280.0075 | 0.334 | 40741.0862 | 42001.1197 | 50.1 | 0 | 0 | 40741.0862 | 42001.1197 | 50.1 | 0.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81.502 | 40741.0862 | 40741.0862 | 375 | 9.25 | 0.09 | 30563.25 | 376855.0469 | 3666.6978 | 0 | 0 | 9518 | 420603.0847 | 0 | 0 | 0 | 0 | 0 | 420603.0847
Formulas:
Present reading date = [Previous reading date, row above]